## drawing-index-jacketed-piping
File No. | Detail Title | Detail No. | Notes
PNFJ8720 | Weld-In Valves | DSV-1 | Flow-Through Drain/Sampling Valve
PNFJ8730 | Weld-In Valves | DSV-2 | Stab-In Drain/Sampling Valve
PNFJ8740 | Weld-In Valves | BWV-1 | In-Line Socket Weld or Butt Weld Valve
PNFJ8750 | Weld-On Jacketed Valves | SJV-1 | Typical Socket Weld or Butt Weld Valve with Steam Jacket
PNFJ8820 | Jacket Heating Media Connections | JCP-1 | Standard Class 3000 Socket Weld Couplings
PNFJ8830 | Jacket Heating Media Connections | JCP-2 | Standard Class 3000 Threaded Couplings
PNFJ8840 | Jacket Heating Media Connections | JEC-1 | Jacket Extension with Half Coupling or Sockolet
PNFJ8850 | Jacket Heating Media Connections | JEF-1 | Jacket Extension with Flange
PNFJ8860 | Jacket Heating Media Connections | TN-1 | Tangential Nozzles
PNFJ9020 | Jacket Window Details | PW-1 | Pipe Window
PNFJ9030 | Jacket Window Details | PW-2 | Plate Window
PNFJ9020 | Jacket Annulus Details | SP-1 | Spacer, Type A
PNFJ9040 | Jacket Annulus Details | SP-2 | Spacer, Type B
PNFJ9050 | Jacket Annulus Details | SP-3 | Spacer, Type C
PNFJ9055 | Jacket Annulus Details | IP-1 | Impingement Plate
PNFJ9060 | Jacket Annulus Details | ST-1 | Siphon Tube Assembly
PNFJ9120 | Jumpover Details | JMP-1 | Flexible Metal Hose Jumpover
PNFJ9130 | Jumpover Details | JMP-2 | Tubing Jumpover
PNFJ9140 | Jumpover Details | JMP-3 | Steam/Condensate Jumpover Assembly
PNFJ9150 | Jumpover Details | JMP-4 | Piping Jumpover
PNFJ9160 | Jumpover Details | JMP-5 | Piping Jumpover
Caption: Drawing index continuation — Jacketed Piping Fabrication and Installation Details
Extracted from 14-non-metallic-and-specialty-piping-04 page 7, table 1.