## fire-and-risk-publications
NFPA 11 | Standard For Low, Medium, and High Expansion Foam
NFPA 30 | Flammable And Combustible Liquids Codes
NFPA 24 | Private Fire Service Mains
GE GAP 2.5.2. (Formerly I.R.I.IM.2.5.2) | Oil and Chemical Plant Layout and Spacing
OH&S LEGISLATION | Alberta/Ontario/British Columbia Occupational Health And Safety Act
OSHA | Occupational Safety And Health Administration
CGA | Compressed Gas Association
NFPA 58 | Liquefied Petroleum Gas Code
NBC | National Building Code of Canada
UBC | Uniform Building Code
ASCE | American Society of Civil Engineers
OGC | Oil & Gas Conservation Regulations
ERCB | Energy Resources Conservation Board
CSA Z662 | Oil & Gas Pipeline Systems Code
Caption: 3.2.2. Fire and Risk (* denotes for Canadian Installations only)
Footnote *: For Canadian Installations only
Footnote **: Referenced standard
Extracted from 01-overall-piping-design-standards-02 page 8, table 1.
Note on A5: *: For Canadian Installations only
Note on A9: *: For Canadian Installations only
Note on A10: **: Referenced standard
Note on A11: **: Referenced standard
Note on A12: *: For Canadian Installations only
Note on A13: *: For Canadian Installations only
Note on A14: *: For Canadian Installations only