## maximum-lateral-misalignment-by
DN | Maximum misalignment
≤ 100 | 2 mm
> 100 | 3 mm
Caption: Maximum lateral misalignment values by DN
Extracted from 01-overall-piping-design-standards-08 page 128, table 1.