## figure-1-sce-list-template
Item # | HAZOP/LOPA Scenario Ref. | Instrument/Equipment Tag # | Service Description - Type | Service Description - Function | P&ID or Document # | SIL Requirement | Notes
1.0 PROTECTIVE SYSTEMS (ISOLATION AND PREVENTION)
1.1 Instrumented Systems SIL1 and greater (SIS)
1.2 Instrumented Systems SIL 0
1.3 Critical Alarms
1.4 Mechanical Systems
1.5 Other IPLs
2.0 MITIGATION SYSTEMS (CONTROL/DETECT/MITIGATE)
2.1 Fire and Gas Detection
2.2 Fire Suppression
2.3 Ventilation Systems
2.4 Other Emergency Response/Alarm System Safeguards
Caption: Figure 1- SCE List Template
Extracted from 18-safety-isolation-and-metering-philosophies-01 page 5, table 1.