## table-1-line-service-symbol-cro
Line service | Alliance | Trainer | Ferndale
Glycol, Supply | -- |  | GYS
Heavy Fuel Oil | HFO | HFO | OFH
High Pressure Boiler Feedwater | -- | HBFW | HBFW
High Pressure Condensate | C | HPC | CH
High Pressure Steam (450PSI) | -- | -- | SH
High Pressure Steam (600PSI) | HS | HS | --
Hot Amine | -- | -- | HDEA
Hot Circulation Water | -- | HCW | --
Hot Oily Water | -- | HOW | --
Hydrofluoric Acid | HF | HF | HF
Hydrogen | H | H | H
Hydrogen Sulfide | -- | H2S | HS
Inert Gas | -- | IG | GI
Inhibitor | IN | IN | --
Instrument Air | IA | IA | AI
Jet Fuel Additive | ADJ | ADJ | --
Jet Water | -- | JW | --
Light Fuel Oil | LFO | LFO | OFL
Loading Air | -- | LA | --
Low Pressure Boiler Feedwater | -- | LBFW | LBFW
Low Pressure Condensate | C | LPC | CL
Low Pressure Saturated Steam (50 PSI) | LS | LS | SL
Low Pressure Superheated Steam (50 PSI @ 750°F) | LSS | LSS | --
Lube Oil | LO | LO | OL
Medium Pressure Condensate | C | MPC | CM
Medium Pressure Steam (150 PSI) | -- | -- | SM
Medium Pressure Steam (250 PSI) | MS | MS | --
Mercury | -- | HG | --
Natural Gas | -- | NG | GN
Nitrogen | N | N | N
Oily Condensate | -- | OC | CO
Oily Water Sewer | OS | OWS | OWS
Once-Thru Water | -- | W | --
Once-Thru Water to Sewer | -- | HW | --
Oxygen | O | O | O2
Phenolic Water Sewer | -- | -- | PWS
Pilot Gas | -- | PG | GP
Plant Air | PA | PA | AP
Potable Water | -- | DW | WP
Process- H2 in sour service | PHS | PHS | --
Process- Hydrocarbon Liq & Vap | P | P | P
Process- Sour | PS | PS | --
Caption: TABLE 1 LINE SERVICE SYMBOL CROSS-REFERENCE (CONTINUED)
Extracted from 19-project-engineering-and-documentation-01 page 6, table 1.