## pressure-temperature-pipe-size-
Pressure (max.) | Temperature (max.) | Pipe
kPa | (PSI) | C | (F) | (NPS)
2400 | (350) | 260 | (500) | 14 and below
1380 | (200) | 260 | (500) | 16 to 24
Caption: Pressure (max.), Temperature (max.) and Pipe (NPS) size limits
Extracted from 03-piping-materials-and-line-classes-01 page 14, table 1.