## table-4-4-class-sad-spec-header
TABLE: 4.4 | CLASS: SAD
PRESSURE-TEMPERATURE RATING: | ANSI Class 300 Except 425 C (800 F) Max.
SERVICE: | Steam & Condensate
BASIC MATERIAL: | Carbon Steel
CONSTRUCTION CLASS: | 1, 2
CORROSION ALLOWANCE: | 1.6 mm (0.063")
ITEM | SIZE | RATING | TYPE | SPECIFICATIONS | NOTES
Caption: Table 4.4 Class SAD — Line Class Specification Header
Extracted from 03-piping-materials-and-line-classes-01 page 36, table 1.