## american-water-works-associatio
American Water Works Association (AWWA)
C110 | Ductile Iron and Gray Iron Fittings, 3 inches Through 48 inches, for Water and Other Liquids
C111 | Rubber Gasket Joints for Ductile Iron and Cast Iron Pressure Pipe and A179 Specification for Seamless Cold-Drawn Low Carbon Steel Heat Exchanger and Condenser Tubes
C115 | Flanged Cast Iron and Ductile Iron Pipe with Threaded Flanges
C151 | Ductile Iron and Gray Iron Fittings, 3 inches Through 48 inches, for Water and Other Liquids
Caption: American Water Works Association (AWWA)
Extracted from 03-piping-materials-and-line-classes-12 page 5, table 2.