## manufacturers-standardization-s
Manufacturers Standardization Society (MSS)
SP-25 | Standard Marking System for Valves, Fittings, Flanges and Unions
SP-79 | Socket-Welding Reducer Inserts
SP-83 | Steel Pipe Unions, Socket-Welding and Threaded
SP-95 | Swage(d) Nipples and Bull Plugs
SP-97 | Integrally Reinforced Forged Branch Outlet Fittings – Socket Welding, Threaded and Buttwelding Ends
Caption: Manufacturers Standardization Society (MSS)
Extracted from 03-piping-materials-and-line-classes-12 page 5, table 3.